| Safe Work Method Statement (SWMS) Part 1 |
| --- |
| Activity: Plumbing – Pipe Installation and final fitout | SWMS #: |
| Business Name: Bowley Plumbing Services | ABN: 97 007 937 439 |
| Business Address: 19 Swallow Ave, Modbury Heights SA |
| Business Contact: Phillip Bowley | Phone #: 0418 891 498 |
| SWMS Approved by: Employer / PCBU / Director / OWNER. |
| Name: Phillip Bowley |
| Signature: | Date: |
| Person/s responsible for ensuring compliance with SWMS: Phillip Bowley and all employees |
| Person/s responsible For reviewing the SWMS: Phillip Bowley |
| Relevant workers consulted in the development, approval and communication of this SWMS. | All Persons involved in the task must have this SWMS communicated to them before work commences. |
| Name | Signature | Date | Tool Box Talks will be undertaken to identify, control and communicate additional site hazards. |
| B Small |  |  | Work must cease immediately if incident or near miss occurs. SWMS must be amended in consultation with relevant persons. |
| M Fitch |  |  | Amendments must be approved by Phillip Bowley and communicated to all affected workers before work resumes. |
| T Dawson |  |  | SWMS must be made available for inspection or review as required by WHS legislation. |
|  |  |  | Record of SWMS must be kept as required by WHS legislation (until job is complete or for 2 years if involved in a notifiable incident). |
| Principal Contractor Details (The builder or the organisation you are working for.) |
| Principal Contractor (PC): | Project Name: | Date SWMS provided to PC: |
| Project Address: |
| Project Manager (PM): | PM Signature: | CONTACT PH. #: |
| SWMS Scope: This SWMS covers the safe installation and fitting of pipework, appliances, fixtures for hot / cold water and fire system installation. This includes commercial, industrial and domestic plumbing works from the building line to termination points. |

| This work activity involves the following “High Risk Construction Work” |
| --- |
| ☐ Confined Spaces |  Mobile Plant | ☐ Demolition | ☐ Asbestos |
| ☐ Using explosives | ☐ Diving work | ☐ Artificial extremes of temperature | ☐ Tilt up or pre-cast concrete |
|  Pressurised gas distribution mains or piping chemical, fuel or refrigerant lines energised electrical installations or services |
| ☐ Structures or buildings involving structural alterations or repairs that require temporary support to prevent collapse |
|  Involves a risk of a person falling more than 2m, including work on telecommunications towers |
| ☐ Working at depths greater than 1.5 Metres, including tunnels or mines | ☐ Work in an area that may have a contaminated or flammable atmosphere |
| ☐ Work carried out adjacent to a road, railway or shipping lane, traffic corridor | ☐ In or near water or other liquid that involves risk of drowning |
| Likelihood | Insignificant | Minor | Moderate | Major | Catastrophic | Score | Action | HIERARCHY OF CONTROLS | Most Effective |
| Almost certain | 3 High | 3 High | 4 Acute | 4 Acute | 4 Acute |  |  |  |  |
| Likely | 2 Moderate | 3 High | 3 High | 4 Acute | 4 Acute | 4A Acute | DO NOT PROCEED. |  |  |
| Possible | 1 Low | 2 Moderate | 3 High | 4 Acute | 4 Acute | 3H High | Review before commencing work. |  |  |
| Unlikely | 1 Low | 1 Low | 2 Moderate | 3 High | 4 Acute | 2M Moderate | Maintain control measures. |  |  |
| Rare | 1 Low | 1 Low | 2 Moderate | 3 High | 3 High | 1L Low | Record and monitor. |  | Least Effective |
| Personal Protective Equipment (PPE): Ensure all PPE meets relevant Australian Standards. Inspect, and replace PPE as needed. |
| Foot Protection | Hearing Protection | High Visibility | Head Protection | Eye Protection | Face Protection | Hand Protection | Protective Clothing | Breathing Protection | Sun Protection | fall Arrest | Rings, watches, jewellery that may become entangled in machines must not be worn. Long and loose hair must be tied back. |
|  |  |  |  |  |  |  | ☐ |  | ☐ |  |  |
| AS 1319-1994 Safety signs for the occupational environment reproduced with permission from SAI Global under licence 1210-c062. Standards may be purchased at http://www.saiglobal.com |

| Job Step | Potential Hazard/s | IR | Control Measures to Reduce Risk | RR | Responsible Person |
| --- | --- | --- | --- | --- | --- |
| Inherent Risk-rating (IR) Residual Risk-rating (RR) |
| Planning & preparation | Lack of consultation with potential outcomes for personal injury, property damage &/or environmental incident. | 3H | Liaise with Principal Contractor to establish the following on-site systems and procedures are in place and take note of: Health and Safety rules Induction for all workers – site specific and toolbox meetings Supervisory arrangements Emergency plans All relevant workers are appraised for required competencies & for any pre-existing medical conditions if working in remote or isolated locations. Communication arrangements Hazard reporting procedures Injury reporting procedures Ensure Work Safe notification for deep excavations prior for planned work (where applicable) PPE required Site plans – showing no go zones for pedestrians Traffic Management Plan (TMP) detailing movement of vehicles during work Exclusion Zones Risk Assessments, SWMS and JSA’s Ensure relevant guidance material for electrical NO GO ZONES is on site and consulted before work commences. Underground essential services - including gas, water, sewerage, telecommunications, and electricity. Ensure notification of electricity or water service disruption is given to the site supervisor. Ensure a working in excavations deeper than 1.5 SWMS is in place (additional to this SWMS) for any work in trenches deeper than 1.5 m. Ensure Hot Work Permits are completed where required if using Oxygen / Acetylene. Ensure a working at heights SWMS is in place (additional to this SWMS) if conducting work over 2m high where the risk of a fall is possible. | 2M |  |
|  | Atmospheric hazard - poor air quality/ chemical exposures | 4A | If work involves an identified Confined Space, a separate, dedicated ‘Confined Spaces SWMS’ is required to be used in conjunction with this SWMS. Note: A confined space can be defined as an enclosed or partially enclosed space that is likely to be a risk to health and safety because of: An atmosphere that does not have a safe oxygen level, or Contaminants, including airborne gases, vapours and dusts, that may cause injury from fire or explosion, or Harmful concentrations of any airborne contaminants, Examples of confined spaces involved with installing insulation batts might include ceilings or wall cavities, when these examples meet the definition of a confined space Ensure a confined space entry permit is issued for each confined space entry. | 2M |  |
|  | Personal Injury from delay in emergency assistance to remote workers | 3H | A ‘Buddy’ system must be utilised at all times when working alone. Ensure: An emergency response procedure is developed & followed Mobile & satellite phones and EPIRB are fit for purpose, tested before departure & phones have spare, fully charged batteries and facilities for continuing charging. | 2M |  |
| Training and Capabilities | Lack of training or the assessment of capability may lead to personal injury, property damage &/or environmental incident. | 3H | Check workers are in fit condition to work i.e. no signs of fatigue, alcohol or drugs. Ensure all persons entering a construction site have a General Construction Induction Card (white card) Ensure all relevant workers are appropriately qualified with correct licence endorsements for the task. E.g. Plumber, gas fitter as applicable Ensure all relevant workers have undertaken training and/or received instruction in the use of control measures. Include: | 2M |  |
|  |  |  | Instructed on the use of this SWMS Reporting procedures for incidents Correct use of equipment including selecting, fitting, use, care of and maintenance Correct use of all tools used | Emergency plans Use of supervision where required (e.g. new starters or new equipment) Conduct a pre-start toolbox talk to ensure that all workers have been made fully aware of the scope of work to be performed. |  |  |
| Assess onsite conditions | Lack of a clear assessment may lead to personal injury, property damage &/or environmental incident. | 3H | Assess conditions at site on arrival. Ensure: Ensure site-specific induction is undertaken (include location of amenities, first aid facilities, emergency plans and evacuation points, incident reporting, communication, contact persons etc.) Assess mobile phone reception (alternative emergency communications procedures in place if no reception available) Work site is exactly as detailed in Terms of Agreement or contract Suitable access for all equipment required Suitable space for operation of equipment Suitable lighting, including night-works (include flood lighting and operator head lamps as applicable). | 2M |  |
| Unloading / storage of materials | Muscular stress / musculoskeletal disorder (MSD) | 3H | Where manual unloading and storage is necessary: Use team-lifts where possible As much as possible, team members are of similar height and capability Team members know their responsibilities during the lift Movement of material from the delivery point to the installation area usually represents the greatest opportunity for damage or injury, particularly if being achieved manually. Ensure: Use hand trucks, to move heavy materials Use team-lifts for heavier items Ensure materials /equipment is as close to work area as possible The floor/ceiling loading design of the building or platform should be carefully considered and, if necessary, the material evenly distributed. Consider storing the material in a raised position to allow for future access of trolleys or other mechanical aids if required and, to reduce manual handling from ground level Ensure materials/equipment is delivered and distributed as close to work area as possible. | 2M |  |
|  | Hit by moving objects | 3H | Where possible materials should be unloaded using mechanical means When unloading ensure: Within Safe working load (SWL) if using hoisting machinery Suitable ground and sufficient room for operation Delivery driver and other personnel are removed from area (use physical barriers to maintain exclusion zone) If Driver is unloading – establish and enforce exclusion zone: Persons do not stand on or beside delivery vehicle during unloading Loads are secure and will not free-fall Use lifting equipment for larger packs Provide secure stockpile area for pipes and fittings Unload and stack pipes strictly in accordance with the manufacturers’ recommendations Secure pipes to prevent movement irrespective of slope of surface, e.g. sand bags. | 2M |  |
|  | Slips trips falls | 3H | Store materials and equipment so as to minimise trip hazards Store materials and equipment away from traffic areas as much as possible. | 2M |  |
| Work area set up | Muscular stress / musculoskeletal disorder (MSD) | 3H | Movement of material from the delivery point to the installation area usually represents the greatest opportunity for damage or injury, particularly if being achieved manually. Ensure: Ensure the access route is clear of hazards Use hand trucks (trolley), to move heavy materials where practicable e.g. hot water systems Use team-lifts where possible: As much as possible, team members are of similar height and capability Team members know their responsibilities during the lift. | 2M |  |
|  | Falls from height > 2m. | 3H | If working at height ensure that suitable fall prevention measures are in place and check that any working platforms can safely support the load. If working at heights above 2m and “in built’ edge protection is not in place or not sufficient ensure a separate, dedicated working at height SWMS is in place before commencing work. Additional SWMS may also be required if using Elevating Work Platforms. | 2M |  |
|  | Work adjacent to road & public safety | 3H | Park working vehicle to avoid travelling across roads when delivery working equipment If setting up roadside – comply with local laws and permits Erect any barriers & signage necessary to keep others safe and aware. | 2M |  |
|  | Property damage | 3H | Ensure equipment is not placed in areas where they may be run over, damaged or exposed to water (unless rated for wet environments). | 2M |  |
|  | Contact with electricity from existing structure | 4A | Follow lock-out/tag-out procedures and obtain advice from suitable person (such as licensed electrician) that power is isolated (if required). Ensure: Certificate of electrical safety is obtained if required All electrical cables/equipment are identified and marked Fixing points are clear of cables/equipment Where electrical hazards are identified, a qualified electrical contractor should be engaged to eliminate or control this risk. | 2M |  |
|  | Contact with electricity – Power tools | 3H | All power tools and leads are Tested and Tagged and are current Pre-inspect equipment If equipment is damaged, do not use. Take out of service, apply Lock-out/tag-out (LOTO) procedures and inform supervisor immediately. | 2M |  |
|  | Other worker and public safety | 3H | Ensure: | Exclusion zone in place – no unauthorised persons under work Safety Signs Clearly display one or more warning signs that suspended ceiling is being fitted. | 2M |  |
|  | Slips, trips & falls |  | Run cords / hoses overhead if possible Place cords / hoses to the side of the walkways and tape down: Avoid running cords / hoses through stairways and ladders Ensure adequate lighting on-site using temporary lighting as required Check your path is clear of obstacles before carrying loads Use mechanical lifting aids rather than carrying bulky loads that block the view ahead Ensure everyone wears suitable footwear with a good grip. | 2M |  |
|  | Noise | 3H | Ensure hearing protection is worn when operating compressor, power & explosive tools: It is worn by the operator throughout the period of exposure to noise Is suitable for the noise level Is comfortable and correctly fitting for the operator It is regularly inspected and maintained to ensure it remains in good, clean condition When choosing hearing protection for operators consider: Overprotecting by cutting out too much sound can cause difficulties hearing other sounds needed to work safely Ear-muffs can be uncomfortable to wear in hot environments Wearing PPE can make it difficult for the worker to wear a helmet That long hair can be tied back so it does not impact on correct fit. | 2M |  |
|  | Environmental noise |  | All noisy construction work conducted within regulated hours ( see local council / EPA for details) Be aware of noise impacts at all times of day and take reasonable steps to reduce noise. |  |  |
|  | Contact with hazardous chem. / sub. | 3H | Ensure current Material/Safety Data Sheets (M/SDS) are obtained for all hazardous chemicals/substances and accessible on site. | 2M |  |
| Excavation – Sub surface installation | Underground services | 4A | Ensure underground services have been identified and marked accurately for depth and position: Contact Dial Before You Dig 1100 Use accredited cable locator contractor to test the area Contact relevant authorities/companies for ‘as constructed’ plans if necessary Hand excavate using a shovel to locate services and mark out prior to any trenching or battering works Use “Pot holing” techniques if required Use extreme care when working near gas mains When using hand prodders to locate pipes do not use hammers or other implements Mark all exposed services with flags or devices that can be readily seen Ensure all marked services continue to be visible for the duration of the work. | 2H |  |
|  | Deep Excavations | 4A | Ensure a working in excavations SWMS is in place (additional to this SWMS) for any work in trenches deeper than 1.5 m that covers additional hazards of working in deep excavations as per applicable regulations and codes of practice. | 2M |  |
|  | Accidental contact (future excavations) | 3H | Ensure marker tape is laid above piping when installed in an open-cut trench NOTE: The marker tape should be between 150 mm and 300 mm below the finished ground level. | 2M |  |
|  | Public access | 3H | Pedestrian Access: Ensure: If closing/modifying a vehicle lane, parking area or footpath the following factors are considered in developing alternative pedestrian access: Travel speed of road traffic Traffic volumes Percentage of heavy vehicles The alignment of the road If alternative route is immediately adjacent to a road, concrete or water filled barriers to protect pedestrians from road traffic should be used Pedestrians will be directed by defined walking paths clearly marked with using appropriate measures (e.g. barriers, fencing hazard netting) Signage must be appropriate and easily seen Temporary pathways must have no trip hazards and the ground/pavement should be free of holes, dips, mud or debris Mobility impaired e.g. wheelchair access, pram ramps, hand rails must be considered in respect to widths, surface and grade Barrier fencing or Hoarding must be erected to prevent the public from entering hazardous areas of the work site Access should be monitored through a single entry point. | 2M |  |
|  | Contact with Mobile plant (excavator etc.) | 3H | Ground workers. Ensure: High visibility clothing worn at all times Do not stand behind reversing vehicles Allow sufficient distance from plant during operation Alertness at all times. Listen for: Reversing alarms/beepers Calls from Plant Operators Work positions should be in clear sight of plant operators Powered mobile plant operators and ground workers: Ensure an effective system of communication between machine operator and ground workers is established before work commences Relevant workers must be trained in the procedures involved prior to the work commencing Ground workers are instructed not to approach machine until the operator has agreed to their request to approach Ensure ground workers are instructed on set distances to maintain from the machine while in operation Ground workers are instructed made familiar with the blind spots of the machine. | 2M |  |
|  | Crush injuries | 3H | Never place any part of the body on or near machine while it is in operation Never push another person or engage in horseplay around operating machinery Keep shovels away from trencher chains and augers Always wait for machine to work ahead before cleaning away spoil Do not work within radius of extended booms, near stabilisers or loader buckets. | 2M |  |
| Hot work – electric or gas welding. Soldering/Cutting | Fire | 4A | Ensure completed Hot Work Permit available at site Follow safety precautions on Hot Work Permit Do not conduct work that is not listed on Hot Work Permit. If other Hot Works are required, obtain Hot Work Permit for that task before commencement. Fire protection equipment provided and accessible: Dry Chemical or CO2 fire extinguishers in immediate vicinity of cylinders (ensure fire extinguishers tested and tagged) All flammable materials (including waste, rags, solvents, empty drums etc.) are removed from area Screens are of sufficient size and placed in a manner to prevent hot sparks, slag and hot metal pieces rolling underneath or penetrating any openings. | 2M |  |
|  | Hazardous chemicals / substances | 3H | Check cylinders are free from leaks or dents Check cylinder fittings, hoses and connections are not damaged or in poor condition Secure cylinders to prevent dislodgement. | 2M |  |
|  | Explosion/ Burns Property damage | 4A | Gas cylinders: Keep the gas cylinder valve closed when the cylinder is not being used Keep all sources of heat and ignition away from gas cylinders, even if the cylinders do not contain flammable material Ensure cylinders are fitted with correct flashback arresters. Example: For hoses 3m or less, flashback arrestors fitted to each gas line at the regulator outlet Hoses longer than 3m, two flashback arrestors fitted to each gas line; one at the blowpipe connection and one at the regulator outlet. Note: Incorrect flashback arresters can reduce flow capacity cause flame instability and increase risk of flashback. |  |  |
| Running Pipework | Power tools | 3H | Ensure operations manual is available, read and understood Pre-inspect and operate power tools as per manufacturers instructions Ensure equipment rated for atmospheric requirements (water, or explosion-proof for flammable zones) Ensure tool suitable for task: Suited to the material. E.g.: steel, timber MDF, plastic Not too powerful for task. E.g.: don’t use larger drill than needed Sufficient power for task – excessive force not required Safety Devices: Low impact tools where possible Single operation when trigger pressed Guards in place, undamaged, retracts and cover danger areas. Perspex guards not cracked and allow visibility E-stops and other devices functional and tested. | 2M |  |
|  | Muscular stress / musculoskeletal disorder (MSD) | 3H | Ensure equipment is as close to work area as possible There is adequate space to carry out the activity to reduce congestion and manual handling risks Adequate lighting is provided at the work area | Excessively long lengths of pipe are extremely awkward to handle. The larger the diameter of pipe the more the more hazardous it is to handle long lengths Carry lengths of pipe horizontally. | 2M |  |
|  | Cuts /Lacerations | 3H | Opening packaging/bundles: If using knife, always cut away from body Use automatically retracting blade if possible: If not possible, ensure blade is retracted after use Use caution handling sharp objects Wear gloves when handling offcuts Note location of protruding nails or screws in framing Avoid reaching into areas where you cannot see clearly. | 2M |  |
|  | Hit by moving objects | 3H | Excessively long lengths of pipe are extremely awkward to handle. The larger the diameter of pipe the more the more hazardous it is to handle long lengths Pre-cut long lengths where possible before moving | Carry lengths of pipe horizontally Use caution walking around corners carrying pipes, (that oncoming people are not hit by pipes). | 2M |  |
|  | Dust – Drilling/ cutting masonry | 3H | Wear eye and breathing protection Local exhaust extraction is provided (if required) Vacuum attachment/bag fitted (if required) | Disposable face masks must: Be fitted and used according to manufacturer’s written instructions Fitted tightly. Check the tightness of the headbands and the operation of the one-way valve. (If fitted) Be replaced as required. Facemask life will depend upon amount of air born dust and usage. | 2M |  |
|  | Slips, trips, falls causing injury | 3H | Identify all hazards. Consider: Ground/floor surface condition Where ground surfaces may change level Check design to ensure that the equipment will support a specified load – or ‘duty rating’. This must be clearly stated on the item Sufficient lighting All trip hazards / obstructions removed from work area Ensure area is kept clear of packaging, or other debris to prevent tripping/slipping | The work area is not wet under foot Weather conditions (rain, wind loads, fog, dew) Experience of workers Use all height-access equipment as per manufacturer’s instructions and for its designed purpose Use pendants, lead stand or insulated cable hangers for power leads Do not drape leads or pipes over body Check for stairs, stored items, corners or other obstructions that could cause tripping. | 2M |  |
|  | Working at elevated positions - Falling objects | 3H | Barricading and signage is developed. Ensure: Signs used to provide clear instruction on entry permissions and hazard areas if working above others Consider appropriate barricades for exclusion zones. Conduct risk assessment and utilise appropriate barricades Consider: Heavy equipment should remain at ground level where possible Maintain good housekeeping, e.g. ensure the work area is tidy and materials, debris, tools and equipment that are not being used are out of the way Providing a secure physical barrier at the edge of the elevated area, i.e. toe boards or infill panels Tethering or otherwise securing tools and materials to prevent them falling on people below Keeping tools or other materials away from edges and off of railings or sills Remember: If working at heights above 2m and “in built’ edge protection is not in place or not sufficient ensure a separate, dedicated working at height SWMS is in place before commencing work. | 2M |  |
|  | Fall from ladder | 3H | Work positioning. Ensure: Load rating of at least 120kg Correct size and length for job No damage, clean and dry Secured to work site (base and top) Metallic, wire- reinforced or conductive ladders should be avoided around live electrical equipment Face ladder when ascending/descending. Ensure 3 points of contact remain on ladder at all times Ensure only 1 person working from each ladder. | 2M |  |
|  | Fall from platform ladder | 3H | Ensure: Trestle back undamaged If unfolding type, chains, rivets etc. are undamaged and functional Suitable height hand rail (900mm) Triangular flat plate bracing Correct size for job (platform level) Non-slip treads Large feet with non-slip mouldings Non-slip platform of sufficient strength for persons, tools and equipment Industrial rating. | 2M |  |
|  | Fall from trestle | 3H | Trestles must: Be rated for proposed weight and span Have an overhang of at least 150 mm and not more than 250mm at each end and be “locked” together. Example - clamped near the centre span to prevent individual movement Have an unobstructed surface width of at least 450mm (two planks wide) Must be matched pairs i.e. the rungs should be equivalent heights and spacing. | 2M |  |
| Fitting appliances / fixtures | Contact with electricity | 4A | All electrical hard wiring must be undertaken by qualified electrician e.g. hot water systems. Where electrical hazards are identified, a qualified electrical contractor should be engaged to eliminate or control this risk. | 2M |  |
|  |  |  | Plugs: | Ensure no damage to power cords Do not pinch or trap power cords when installing. |  |  |
|  | Muscular stress / musculoskeletal disorder (MSD) | 3H | Avoid awkward and sustained positions Avoid prolonged sitting Use mechanical lifting aids when possible Use two or more people for lifting and moving heavy / awkward equipment Regular breaks For lift from floor level with no lifting aids, ensure safe-lifting techniques used. Example: Plan travel pathway Ensure individual physically ready for lift (muscles warmed up /stretches etc) Face the load and stand close to load Maintain a wide stance (feet shoulder length apart) Ensure good balance Bend at knees Grip load, ensure firm grip. Keep load close to body Keep arms and back straight Look forward, and tuck chin into chest Initiate lift using legs muscles Lift smoothly, do not jerk or throw load upwards Avoid any twisting and side-bending during lift When placing load onto ground, follow instructions as above, bend knees, not back. Where Team handling required (as last resort). Ensure: All members of team-lift are matched in size, skills, capabilities Number of persons proportionate to weight of load and level of difficulty Lifts are planned and rehearsed Person allocated to plan and be in charge of lift – all others to know their roles Sufficient space to manoeuvre Use aids where possible (lifting bars, handles etc.). Lifting Aids and equipment: SWL displayed No signs of wear, undamaged Maintained/serviced as required. | 2M |  |
|  | Using power tools | 3H | See section 8 of this SWMS (Power tools) for controls. | 2M |  |
|  | Falls | 3H | See section 8 of this SWMS (Working at elevated positions – and working on ladders) for controls. Additionally: If working at heights or on a roof and “in built’ edge protection is not in place or not sufficient ensure a separate, dedicated working at heights or, working on a roof SWMS is in place before commencing work. | 2M |  |
|  | Slips, trips | 3H | Electrical leads to be kept as short as possible and will be located where they will not provide a tripping hazard or be exposed to damage | Tape leads across doorways/walkways Excess lengths will be located along a wall or partition Clean up spills, leaks immediately. | 2M |  |
|  | Caulking/sealants | 3H | Follow directions of use Consult M/SDS for the product Ensure adequate ventilation | Dispose of chemicals correctly Wash your hands thoroughly after handling chemicals Chemical resistant gloves for prolonged exposure. | 2M |  |
| On completion | Slips, trips, falls causing injury | 3H | Site to be left in clean and tidy condition ready for handover. Builder / supervisor to be advised upon completion of works. | 2M |  |
|  | Environmental incident | 3H | Dispose of all hazardous chemicals/sealants in an approved waste receptacle. | 2M |  |
|  | Contact with electricity | 4A | Ensure that no electrical appliances, light fittings, cables etc. have been damaged during installation If damage suspected, do not turn power back on – seek advice from licensed electrician. | 2M |  |
|  | Contact with hazardous materials | 3H | Clean debris and ensure off cuts are removed from area Observe good personal hygiene including washing hands before eating. | 2M |  |
|  | Public safety | 3H | If acceptable, remove barricades, contact supervisor and return as agreed Final visual inspection before leaving area. | 2M |  |

| Emergency Response - Call 000 immediately. |
| --- |
| If work is to be conducted on a construction site (or a site controlled by another Employer / PCBU) follow the site-specific Emergency Management Plan. Ensure: Adequate numbers of first aid trained staff are on site when working at heights occurs First aiders are trained and competent in managing injuries associated with demolition until emergency services arrive All rescue equipment is in good condition, available for use and in close proximity to the work site. | Ensure workers have access to: First aid kit/supplies First Aid trained personnel familiar with Resuscitation and emergency response for electric shock M/SDS Communication devices (check mobile phones will have service in area) Suitable fire protection equipment. |
| Safe Work Method Statement (SWMS) Part 2 |
| Formal Training, Licences required for workers undertaking this task: | Relevant Legislation & Codes of Practice Retain only the legislation references applicable to your state of operation for this SWMS. |
| Delete or add as relevant Licence to Perform High Risk Work (operating certain plant, equipment) TAFE or other recognised training organisation Construction Induction Card (or equivalent) Competent in operation of make/model of plant Emergency procedures – emergency response PPE Traffic Management Plans | Commonwealth, NSW, QLD, ACT Work Health and Safety Act 2011 Work Health and Safety Regulations 2011 Northern Territory Work Health and Safety (National Uniform Legislation) Act 2011 Work Health and Safety (National Uniform Legislation) Regulations SA, Tasmania Work Health and Safety Act 2012 Work Health and Safety Regulations 2012 Codes of Practice: Safe Work Australia (2011): Construction Work First Aid in the Workplace Managing the Risk of Falls at Workplaces Managing the Risk of Plant in the Workplace Managing Noise and Preventing Hearing Loss in the Workplace How to Manage Work Health and Safety Risks Hazardous Manual Tasks Managing Risks of Hazardous Chemicals Managing Electrical Risks in the Workplace Managing the Work Environment and Facilities WHS Consultation, Cooperation & Coordination | Victoria: Occupational Health & Safety Act 2004 Occupational Health & Safety Regulations 2007 Compliance Codes: WorkSafe Victoria (2008): Compliance Code: Communicating OHS Across Languages First Aid in the Workplace Prevention of Falls in General Construction Workplace Amenities and Work Environment Codes of Practice: WorkSafe Victoria (1990): No. 13: Building and Construction Workplaces (2000): No. 25: Manual Handling (1995): No. 19: Plant (1998): No. 23: Plant (Amendment No. 1) (2004): No. 29: Prevention of Falls in Housing Construction (2000): No. 24: Hazardous Substances Western Australia Occupational Safety & Health Act 1984 Occupational Safety & Health Regulations 1996 Codes of Practice: |
| Details of Supervisory Arrangements for workers undertaking this task: |  |  |
| Delete or add as relevant Suitably qualified supervisors for job Direct on-site supervision Remote site – communication systems/ schedule Audits Spot Checks, etc. Reporting systems |  |  |
| Details of: regulatory permits/licenses Engineering Details/Certificates/WorkCover. Approvals: |  |  |
| Delete or add as relevant Local council permits Authorisation to work Confined Space Permit Building Approvals EPA approvals/permits Certain plant to be registered with State Authority PPE to comply with relevant Australian Standards |  |  |
|  | Plant/Tools/Equipment List for the job. | Reference Documents |
|  | (Make & Model) |  |

| Safe Work Method Statement (SWMS) Part 3 |
| --- |
| This SWMS has been developed in consultation and cooperation with employee/workers and relevant Employer/Persons Conducting Business or Undertaking (PCBU). I have read the above SWMS and I understand its contents. I confirm that I have the skills and training, including relevant certification to conduct the task as described. I agree to comply with safety requirements within this SWMS including risk control measures, safe work instructions and Personal Protective Equipment described. |
| Overall Risk Rating after Controls | 1 Low | 2 Moderate | 3 High | 4 Acute |
| Employee/Worker Name | Job Role / Position | Signature | Date | Time | Employer/PCBU/ Supervisor |

| Review: Ensure all controls are reviewed as per the following: If controls fail to reduce risk adequately When changes to the workplace or work activity occur that create new / different risks where controls may no longer be effective New hazards identified After an incident involving work activities relevant to this SWMS During consultation with relevant persons indicate review is needed A Health and Safety Representative (HSR) requests a review in line with the requirements of the legislation. | Monitor: To ensure controls are implemented and monitored effectively: Toolbox /pre-work meetings will be undertaken Relevant persons will be consulted on hazards and contents of SWMS, work plans and other applicable information Control measures will be monitored throughout works: *Spot checks *Consultation *Scheduled audits Corrective actions will be recorded and rectified in a timely manner SWMS will be reviewed and updated accordingly (in consultation with relevant persons). |
| --- | --- |
| Review No. | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 |
| Name: |  |  |  |  |  |  |  |  |  |  |
| Initial: |  |  |  |  |  |  |  |  |  |  |
| Date: |  |  |  |  |  |  |  |  |  |  |

# Text boxes

DO NOT:

- Attempt to move or extend ladder when on it

- Slide down stiles

- Step up or down two or more rungs at a time